## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Pembroke Court
Hylton Lane
Downhill
SR5 4DF
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-24064
DATE OF REPORT: 19/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24064
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Pembroke Court
Hylton Lane
Downhill
SR5 4DF
Carried Out On | 17/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
6 Monthly PPM - Plant Room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24064
SECTION 3: Report
Inspect, operate and test all safety devices. Mechanical ppm. 2 x remeha gas210 pro200, operational 1 x was calorifier, poor, operational Valves, POOR, operational Flue, good Plate, POOR, leaking Destrat,grundfos ups 20 45, 0.7 amps Primary, average, 0.9 amps Vt, w10 yonos maxo 50, good, 0.5 amps Shunt pump x 2, Grundfos 80 120, 2.1 amp and 2.2 amps Lagging g POOR 2 x 3 port, operational 2 x actuators, operational Pipework POOR 1 x heating expansion vessel, good, 1.7 bar 1 x dhw expansion vessel, good, 2 bar Condensates pipe, good Gas interlock , operational Press unit, operational Water test, ph 8

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24064
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24064
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24064
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24064
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24064
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes