## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-24068
DATE OF REPORT: 19/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24068
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
Carried Out On | 31/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24068
SECTION 3: Report
2 x potterton commercial boilers- Operational Boiler flu no signs of leaks on joints. Condensing run coming of the flu was leaking on arrival. Renowned fitting which was leaking L.P.H.W flow pump - 2 x Wilo yonos MAXO-D 50/0.5-12 Pump 1 - 2.5 amps Pump 2 - 2.2 amps 2 x Andrew water heaters B11- operational on arrival 2 x DHWS de-strat pump - Grundfos UPS 40-50 FN 250 Pump 1 - 0.5 amps Pump 2 - 0.4 amps 1 x DHWS return pump - Grundfos UPS 32-s5 N 180- 0.5 amps Lagging - good Gauges - ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes