## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Spring View
Bristol Drive
Battle Hill
NE28 9RN
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24070
DATE OF REPORT: 23/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24070
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Spring View
Bristol Drive
Battle Hill
NE28 9RN
Carried Out On | 21/10/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24070
SECTION 3: Report
Report for mechanical check to spring view 3 x Hamworthy fleet f50v. 1= operational 2= operational 3= operational 2 x lochinvar SHW45-325 gas fired water heaters 1= operational 2= operational 2 x wilo comfort pressurisation units 1= operational 2= operational 2 x DHW expansion vessels 1= operational charged to 3.5 bar 2= operational charged to 3.5 bar 1 x heating expansion vessel = operational charged to 1.7 bar 1 x ASHP expansion vessel = operational charged to 1.7 bar 2 x flues = good Pipe work = no leaks Lagging = good 8 x prv,s. = operational 1 x gas interlock = operational Gauges = operational Sensors = operational BMS HMI = not working 1 x Schneider actuator = operational 1 x 3 port valve = operational Zone 1 vt pumps grundfos magna3d 40-150= operational 3.1 amps. 2= operational 3.1 amps ASHP secondary pumps grundfos magna 3d 40-180. 1= operational 1.3 amps. 2= operational 1.4 amps ASHP primary pumps grundfos 3d 32-60 = operational 0.8 amps. 2= operational 0.8 Secondary return pump grundfos 15 -50 = operational 0.2 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24070
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24070
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24070
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24070
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24070
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes