## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 lyndhurst Road
Stanley
County Durham
DH9 7RH
CARRIED OUT ON BEHALF OF
Mr Ralph Thompson
REPORT NUMBER: 22-24071
DATE OF REPORT: 17/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24071
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Mr Ralph Thompson
Address | 4 Lyndhurst Road
Stanley
County Durham
DH9 7RH
Site Address | 4 lyndhurst Road
Stanley
County Durham
DH9 7RH
Carried Out On | 17/10/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Raditor leaking please repair

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24071
SECTION 3: Report
PN 17/10/22 Leaking from radiator valve gland tightened up no visible leaks when left

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24071
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24071
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24071
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24071
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24071
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes