## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24072
DATE OF REPORT: 19/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24072
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Feetham Court
Forest Hall
Newcastle Upon Tyne
NE12 9QJ
Carried Out On | 28/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24072
SECTION 3: Report
Drive to site access boilef rooms and complete ppm checks to. 2 x Broag calorifier , FL514 1000L Indirect 2 x destrat pump, grundfos, no data 2 x DHW sec return, grundfos, data erased. 2 x heating pumps, Grundfos 2 x shunt pumps, Grundfos 3 x actuators schneider M700 S2 SRSU X 2, m400S2 SRSU X 1 3 x quita 115 boilers 1 x Elek VMR72 mains gas SSV 4 x water meters 1 x dosing pot, SS 35L 1 x boss midi 225 L fill unit Pressure vessel x 3 Airfix P 35L x 2 Reflex N 400 x 1

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24072
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes