## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rothley Grange
Solway Avenue
Cullercoats
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24074
DATE OF REPORT: 31/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24074
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Rothley Grange
Solway Avenue
Cullercoats
Carried Out On | 19/10/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Mechanical Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24074
SECTION 3: Report
3 x Hamworthy fleet f50v. 1= operational 2= operational 3= operational 2 x lochinvar SHW 45-325. 1= operational 2= operational 2 x wilo comfort pressurisation unit. 1= operational 2= operational 3 x ASHP = all switched off 1 x C/H expansion vessel = operational charged to 1.7 bar 2 x DHW expansion vessels = all operational charged to 3.5 bar 1 x ASHP expansion vessel = operational charged to 1.7 bar Valves = operational Gauges = operational Flues = good Condensate pipe have leaks in place 5 x PRV,s = operational 1 x interlock = operational Lagging = good BMS HMI= off Water test = PH7 @ 27 degrees Zone 1 VT pumps Grundfos magna 3d 40-100. 1= good =0.6 amps. 2= good = 0.6 amps Zone 2 VT pumps Grundfos magna 3d 32-80. 1= good =0.7 amps. 2= good 0.7 amps ASHP secondary pumps Grundfos magna 3d 49-180. 1= good 1.3 amps 2= good 1.4 amps ASHP primary pumps Grundfos TPED 32-250. 1= good 2.0 amps 2= good 2.1 amps 2 x 3 port valves. 1= operational 2= operational 2 x Schneider actuators. 1= operational 2= operational Sensors = Operational

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes