## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Magdalene Court
1-20 Magdalene Court
Consett
DH8 6RF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24080
DATE OF REPORT: 17/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24080
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Magdalene Court
1-20 Magdalene Court
Consett
DH8 6RF
Carried Out On | 17/10/2022
Survey Completed By | Cameron Grier
SECTION 2: Introduction
Please investigate fire safety circuit for any faults.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24080
SECTION 3: Report
Found faulty MCB within the panel. Swapped out a D10 MCB for a D4 MCB as that was the only stock I had. D10 required as well as rewiring the main live and neutral from the terminals into the breaker itself. I highly suggest fitting an extract fan to the plantroom as the heat is damaging the panel.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24080
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24080
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24080
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24080
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24080
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes