## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 The Elms
Chester Le Street
Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24101
DATE OF REPORT: 24/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24101
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 The Elms
Chester Le Street
Durham
DH2 3EJ
Carried Out On | 18/10/2022, 21/10/2022, 24/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Investigate intermittent banging noise on site, the noise is preventing the tenant from going to sleep.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24101
SECTION 3: Report
GB-21/10/22-NOISE INVESTIGATION. WAS ABLE TO MAKE THE NOISE WHEN TURNI G THE BATHROOM BASIN TAPS ON THEN OFF VERY QUICKLY. ALSO COULD ADJUST THE NOISE IF SLIGHTLY OPEN AND CLOSED THE TAPS, WHICH MADE ME THINK THE TAPS ARE THE ISSUE SO I REPLACED BOTH CARTRIDGES IN THE TAPS AND ALSO FITTED A SHOCK ARRESTOR ON THE COLD MAINS COMING IN TO THE PROPERTY AFTER THE WATER METER. I HAVE TRIED TO MAKE THE NOISE HAPPEN AGAIN AFTER WORKED CARRIED OUT AND NOT BEEN ABLE TO MAKE IT HAPPEN. TOLD TENANT TO USE BATHROOM AS NORMAL AND SEE HOW SHE GETS ON. SHOCK ARRESTOR AND TAP CARTRIDGES ORDER FROM DURHAM WOLSELEY GB-24/10/22- NOISE STARTED AGAIN SATURDAY MORING AND CARRIED OUT. ARRIVED AT THE JOB AND TIRED THE TAPS AGAIN TO MAKE THE NOISE AND IT WOULD HAPPEN STRAIGHT AWAY BUT DID SEEM ALOT WORSE THAN IT WAS ON FRIDAY. CHECKED THE MCW PRESSURE TO THE BUILD WHICH WAS AT 3 BAR AND CHECKED THE VESSEL. VESSEL WAS AT 2 BAR SO REPRESSURISED THAT TO 4 BAR. CHECKED FLAT AGAIN AND STILL DOING THE HAMMER KNOCK SO I KEPT ADJUSTING THE PRESSURE OF THE MCW TO THE BUILDING TILL IT STOPPED THE KNOCKING IN FLAT 16. AT THIS POINT PRESSURE WAS BETWEEN 1 AND 1.5BAR. CHECKED FURTHEST FLAT AWAY FROM MCW PLANTROOM WHICH IS 42 AND THEY BARLEY HAD ANY WATER. SO PUT PRESSURE BACK TO 3 BAR AND FITTED A PRV (RESIDEO BRAUKMANN 1/2 VALVE) TO FLAT 16 AFTER THE WATER METER BUT BEFORE THE SHOCH ARRESTOR AND SET IT TO 1 BAR AND I HAVE NOT BEEN ABLE TO MAKE THE KNOCKING HAMMER WHEN SINK BASIN, SHOWER,KITCHEN TAP TURNED ON AND OFF QUICKLY AND NO KNOCKING ONCE TOILER SHUTS OF ALSO.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
ZENITH MECHANICAL SERVICES
Report Number | 22-24101
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes