## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 4
9 Osborne Villas
Osborne Avenue
NE2 1JU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24105
DATE OF REPORT: 19/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24105
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 4
9 Osborne Villas
Osborne Avenue
NE2 1JU
Carried Out On | 19/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Replace faulty TRV

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24105
SECTION 3: Report
GB-19/10/22- ISOLATED FLOW AND RETURN WHICH WAS IN THE CEILING ON GRPUND FLOOR BELOWFLAT 4. REPLACED FAULTY TRV WITH DRAYTON TRV4

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24105
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes