## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eccles Grange
Church Road
Backworth
NE27 0FW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24106
DATE OF REPORT: 18/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24106
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eccles Grange
Church Road
Backworth
NE27 0FW
Carried Out On | 18/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Please survey site for materials and actions required to replace defective stop tap. Confirm if these works can be carried out by Zenith or if Northumbrian Water are responsible. Please contact Northumbrian water to confirm if there is any uncertainty.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24106
SECTION 3: Report
To fit new lever valve to cold water mains in boiler house. Water board required turn off, turn on. 2 x men, all day, MCW will be off to full building during repair. Cut out old wheel head valve, alter pipework , fit new lever valve. Fill and test. Materials as ber list

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24106
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24106
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24106
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24106
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24106
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes