## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Cheviot View
West Street
West Allotment
NE27 0RA
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24203
DATE OF REPORT: 01/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24203
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 6 Cheviot View
West Street
West Allotment
NE27 0RA
Carried Out On | 20/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Water leak cupboard - dripping resident has put bucket under Notes from Engineer - clock face of cold water meter is leaking , bypass needed.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24203
SECTION 3: Report
GB-20/10/22- COLD WATER METER LEAKING, CUT OUT SECTION OF THE WATER METER AND REPLACED WITH 22MM COPPER PIPE

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24203
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24203
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24203
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24203
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24203
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes