## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
13 Rudyerd Court
Lower Rudyerd Street
North Shields
NE29 6PD
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24204
DATE OF REPORT: 25/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24204
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 13 Rudyerd Court
Lower Rudyerd Street
North Shields
NE29 6PD
Carried Out On | 20/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
FALSE

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24204
SECTION 3: Report
GB-20/10/22- ZONE VALVE ACTUATOR FAULTY, MOTOR NOT TURNING TO CLOSE VALVE ONCE HEATING TURNED OFF. REPLACED ZONE VALVE WITH A DRAYTON ZA5 ACTUATOR HEAD. MATERIALS FROM TYNE TUNNEL WOLSELEY

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24204
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes