## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Gifford House
11 Denmark Street
Bensham
NE8 1NQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24205
DATE OF REPORT: 20/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24205
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Gifford House
11 Denmark Street
Bensham
NE8 1NQ
Carried Out On | 20/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Please investigate if tanks are still operational or redundant on the second floor. Liaise with DH once established for next steps.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24205
SECTION 3: Report
GB-20/10/22- OPEN VENTED SYSTEM, IDEAL LOGIC PLUS HEAT BOILER ON GROUND FLOOR, WATER CYLINDER ON SECONDFLOOR IN ROOM 5. TWO STORAGE TANKS IN LOFT, NO BYELAW KIT ON BOTH TANKS. ALLISOLATIONS ARE GATE VALVES

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24205
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes