## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 1, Diamond House
61 High Streret East
Wallsend
NE28 7SJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24210
DATE OF REPORT: 09/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24210
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 1, Diamond House
61 High Streret East
Wallsend
NE28 7SJ
Carried Out On | 09/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Service ventilation units in property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24210
SECTION 3: Report
GB-9/11/22- HOOVERED OUT THE RECAIR FILTER AND REPLACED THE PANEL FILTERS

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24210
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes