## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Flat 5, Diamond House
61 High Streret East
Wallsend
NE28 7SJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24214
DATE OF REPORT: 01/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24214
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Flat 5, Diamond House
61 High Streret East
Wallsend
NE28 7SJ
Carried Out On | 01/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Service ventilation units in property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24214
SECTION 3: Report
GB-1/11/22- CLEANNED MRXBOX95 PANNEL FILLTERS AND HOOVERED OUT THE RECAIR FILTER. DONT THINK THEY HAVE EVER BEEN CLEANNED SINCE INSTALLED. NOT SURE IF WANT TO REPLACE ONE OF THE PANEL FILTERS AND THE RECAUR FILTER.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24214
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes