## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24261
DATE OF REPORT: 21/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24261
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
Carried Out On | 21/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No hot water in Flat 5 - Additionally Flats 4 & 6 are reporting issues please investigate

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24261
SECTION 3: Report
GB-21/10/22- NO WATER COMING OUT OFF HOT WATER KITCHEN TAP IN FLATS 5, WENT TO PLANT ROOM AND SORE STEAM COMING UP FROM THE UNDERGRPUND SECTION WHICH JOINS TO THE PLANTROOM. TURNED THE HOT WATER OFF WHICH STOPPED THE STEAM AND ALSO LOOKED DOWN IN THE UNDERGROUND BIT AND IS ALL WET. TURNED ALL THE LEVER VALVES FOR THE HOT WATER ON THE OUTSIDE OF THE BUIKDINGS IN THE CHIMNEY BREAST SECTION TO 2 OCLOCK POSITION TO RESTRICTED THE FLOWTO THE BUILDINGS. ALSO THE PRIMARY HEATING PUMPS ARE SLIGHTLY DRIPPING ALSO AS SEEN IN PICS

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24261
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24261
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24261
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24261
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
ZENITH MECHANICAL SERVICES
Report Number | 22-24261
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes