## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
22 Deneside
Medomsely
County Durham
DH8 6PX
CARRIED OUT ON BEHALF OF
Zenith Mechanical Services
REPORT NUMBER: 22-24292
DATE OF REPORT: 26/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24292
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Zenith Mechanical Services
Address | Office 82
Viewpoint Business Centre
Consett
DH8 6BN
Site Address | 22 Deneside
Medomsely
County Durham
DH8 6PX
Carried Out On | 26/10/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Boiler repair

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24292
SECTION 3: Report
PN 24/10/22 Pump making noise when fired up changed pump no nose when firing up PN26/10/22 Heating now working all radiators heating up

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24292
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes