## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tindale Drive
Fellside Park
Whickham
NE16 4HX
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-24304
DATE OF REPORT: 24/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24304
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Tindale Drive
Fellside Park
Whickham
NE16 4HX
Carried Out On | 23/10/2022, 24/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No heating in the lounge and kitchen.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24304
SECTION 3: Report
Jw 23-10-22 No heating in lounge or kitchen both trv and lock shield are open but not working fow for new trv and lock shield to be replaced in both rooms GB-24/10/22- FLUSHED LOUNGE AND KITCHEN RAD, BOTH ARE HEATING UP. BOILER 3 HAS ERROED OUT AND HAS OVERHEATED IN TGE PLANTROOM

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24304
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes