## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
51 Garesfield Gardens
Burnopfield
Newcaste Upon Tyne
NE16 6LE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24353
DATE OF REPORT: 04/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24353
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 51 Garesfield Gardens
Burnopfield
Newcaste Upon Tyne
NE16 6LE
Carried Out On | 04/11/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Get gauge on the job to see if it would be possible moving boiler from bedroom to kitchen and if we would need 2 engineers to do this. Please send photos into admin and fill out repairs section if required.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24353
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - Downstairs Smoke Alarm Location & Date - Heat Alarm Location & Date - Co Alarm Location & Date - Co Alarm Replaced - Yes/No Boiler to be removed - Boiler Serial number - Combi / heat only / system boiler - Boiler location - Is 22mm gas pipe visible at boiler - Flue type - Any access requirements - Flue guard needed - Standoff kit required - Gas meter internal / external - Condensate pump required - Condensate termination - Number of radiators - Size of pipework at radiators - Number of bathrooms - Electric shower - Any other means of heating - Current Cooker Type - If gas, please state make and model Current Cooker Type - If gas, please state make and model An image of the fuse board is required so Jim Shanley knows what items to carry. Kitchen- 550-700 single Hallway- 740-520 double Bed 1- 1005x 500single Bed 2- 1150x500 single Living room- 1300x 500 double Bathroom- 540-530 single Space from top of cupboard to ceiling is 340 from bottom of unit to bench is 460. Bench to ceiling is 1550 Space from wall to socket is 400 (socket might have to be removed to get boiler in) Tiles will have to come off also. Will need 2 men for the full day and possibly Tony for a hand. Jimmy will also be required to take the socket off before work starts as will be right under the boiler. Gas and flow and return will have to be ran in the loft space and then down through the roof with a boiler being on stand off bracket. Boiler is currently in bedroom cupboard. Job will take a lot of labour when current position isn’t an issue really at all.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24353
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24353
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24353
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24353
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24353
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes