## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tamar Court
Tamar Close
North Shields
NE29 8QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24366
DATE OF REPORT: 26/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24366
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Tamar Court
Tamar Close
North Shields
NE29 8QR
Carried Out On | 25/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
6 Monthly Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24366
SECTION 3: Report
PPM 3 x hamworthy fleet F125V - All operational on arrival Boiler flu signs of old leaks on joints 1 x heating expansion vessel - 1.6 bar 1 x chesil pressurisation unit - operational 2 x Schneider electric M400 3 port valves - operational Heating pump zone 1 - 2 x grundfos magna3D 32-120 F 220 - ok- Pump 1 - 0.6 amps Pump 2 - 0.6 amps Heating pump zone 2 - 2 x grundfos magna3D 32-100 180 - ok- Pump 1 - 0.5 amps Pump 2 - 0.5 amps Primary flow pump - 2 x Grundfos magna3D 40-120 F 250 Pump 1 - 0.5 amps Pump 2 - 0.6 amps 2 x hamworthy powerstock calorfiers - all ok 2 x DHW Pressure vessel - Vessel 1 - 3.5bar Vessel 2 - 3.5bar 2 x DHWS de-strat pump - Biral AG CH-3110 munsingen Pump 1 - 0.6 amps Pump 2 - 0.7 amps 1 x DHWS return pump - Grundfos magna3 25-60 N 180 - 0.6 amps 1 x Dumo co2-gas alarm - operational Lagging - good Gauges - ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24366
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24366
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24366
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24366
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24366
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes