## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
BROWNSEA PLACE/MILLWAY 1
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-24380
DATE OF REPORT: 26/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24380
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | BROWNSEA PLACE/MILLWAY 1
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 26/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Radiator not working within flat 14 please investigate

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24380
SECTION 3: Report
GB-26/10/22- LOUNGE RAD NOT HEATING UP, PIN WAS STUCK SHUT SO LOOSENED PIN OF AND PUT SOME SILICONCE GREASE ON IT

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24380
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24380
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24380
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24380
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24380
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes