## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Renwick House
Abbey Meadows
Morpeth
NE61 2BN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24413
DATE OF REPORT: 26/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24413
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Renwick House
Abbey Meadows
Morpeth
NE61 2BN
Carried Out On | 26/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Please assess hot water circuit feeding communal kitchen, cleaners cupboard. Temperatures not reaching above 50 degrees. DH note - Is a TMV Present ? Is the secondary return tee'd in within 3m of the outlet.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24413
SECTION 3: Report
GB-26/10/22- CHECKED TEMP AT KITCHEN TAP AND HAND WASH STATION IN THE KITCHEN. AT THE KITCHEN TAP WAS GETTING55 DEGREES AND WASH BASIN GETTING 54.5 DEGREES. WENT AND CHECKED THE WATER HEATER TANKS AND THEY WHERE SET TO 55. SO INCREASED THEM TO 65 AND CHEKCED TAPS AGAIN. KITCHEN TAP TEMP WAS 64.8 DEGREES AND TOOK 31.53 SECONDS AND WASH BASIN WAS 63.7 DEGREES AND TOOK 27.15 SECONDS.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24413
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24413
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24413
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24413
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24413
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes