## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 John Street
Pegswood
Morpeth
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24440
DATE OF REPORT: 27/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24440
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 3 John Street
Pegswood
Morpeth
Carried Out On | 27/10/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Retireve cooker and co alarm information

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24440
SECTION 3: Report
PN 27/10/22 New co alarm from van stock in bathroom cupboard Date march 2033 Smoke alarm kitchen feb 2030 Smoke alarm living room July 2033 Smoke alarm back door July 2033 No cooker connected

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes