## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Auden House
FALSE
York
YO10 5FD
YO32 9WN
CARRIED OUT ON BEHALF OF
York Housing Association
REPORT NUMBER: 22-24444
DATE OF REPORT: 28/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24444
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | York Housing Association
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | 42 Auden House
FALSE
York
YO10 5FD
Carried Out On | 28/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Heating Extremely hot and cannot turn down

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24444
SECTION 3: Report
GB-28/10/22- TENANT SAYING CANT TURN HEATING OFF, CHECKED STAT WHICH WAS READING 26.5 AND WAS SET TO 19. CHECKED 2 PORT VALVE AND THAT WAS CLOSED AND ABKE TO OOEN MANNUALLY AND CLOSE WHEN LET GO. CHECKED THE TEMPERATURE OF THE FLOW AND RETURN ON THE UNDERFLOOR HEATING MANIFOLD AND IS COLD. HEATING NOT ON JUST FLAT IS HOT DUE TO SURROUNDING FLATS

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24444
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes