## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
23 Auden House
St Ann's Court
York
YO10 5FD
YO32 9WN
CARRIED OUT ON BEHALF OF
York Housing Association
REPORT NUMBER: 22-24449
DATE OF REPORT: 28/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24449
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | York Housing Association
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | 23 Auden House
St Ann's Court
York
YO10 5FD
Carried Out On | 28/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Heating not working.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24449
SECTION 3: Report
GB-28/10/22- HEATING NOT COMING ON IN LOUNGE. EXPLAINNED TO TENANT THAT THE HALL STAT NEEDS TO BE ON AND ALSO CHNAGED THE SETPOINT ON THE STAT FROM 25 TO 30 SO ABLE TO HAVE THE HEATING ON SINCE WAS READING 26 SO NOT ABLE TO GET NEATING ON LOUNGE BECAUSE HALL STAT NOT ALLOWING IT.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24449
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes