## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24450
DATE OF REPORT: 01/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24450
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 27/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Please assess hot water within flats 5, 6, 11, 13, 24.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24450
SECTION 3: Report
GB-27/10/22- NO HOT WATER AT FLATS 5,6,11,13,24. WENT TO PLANTROOM FIRST TO INVESTIGATE THE TANK THAT HAD BEEN ISOALTED AND ONLY THE MAIN COLD TO THE TANK HAD BEEN SHUT OF SO WAS STILL LEAKING OUT. ISOLATED THE HWS RETURN TO THE TANK ALSO. CHECKED THE FLATS AND ALL HAVE HOT WATER FROM ALL OUTLETS.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24450
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes