## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Reenes Way
Bellingham
Hexham
NE48 2DY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24465
DATE OF REPORT: 31/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24465
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Reenes Way
Bellingham
Hexham
NE48 2DY
Carried Out On | 28/10/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Please investigate CTC controller. Contact Elliot to discuss on 07359193341

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24465
SECTION 3: Report
Heating system at zero pressure, temporary repaired keak to auto air vent, filled Heating system to 1.5 bar and vented radiators and pipework. Investigated CTC control, spoke to Elliott and checked parameters and settings , all ok. Rads and hot water working. System still loosing pressure, leaks on buffer pipework and possible leak on heating pipework. 1/2 bar pressure loss over 30 minutes. Topped up pressure again and vented system. Found water leak on 3 port valve, repaired leak, topped up and vented again. FOW to replace aav and further investigate for leaks.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24465
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24465
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24465
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24465
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24465
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes