## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24522
DATE OF REPORT: 31/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24522
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 Fellsdyke Court
Gateshead
Tyne and Wear
NE10 9SB
Carried Out On | 31/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No hot water through taps, new tenant.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24522
SECTION 3: Report
GB-31/10/22- THERE IS HOT WATER COMING FROM KITCHEN TAP AND WASH BASIN BUT NOT MUCH PRESSURE OUT OF THE TAPS. THE BATH AND SHOWER HAVE NO WATER BARELY COMING OUT. WENT IN TO LOFT TO CHECK ISOLATION AND THE HOT WATER SECONDARY RETURN IS COLD. TRIED TO OPEN THE GATE VALVE ON THE FLOW AND THE LOCKSHIELD ON THE RETURN AND JUST TURNING. THERE ARE TWO NEW LEVER VALVES JUST BEFORE THE OTHER TWO BUT NOT SURE IF THE OLD ONES ARE RESTRICITING THE FLOW.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes