## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Holborn House
Commercial Road
South Shields
NE33 1UE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24524
DATE OF REPORT: 31/10/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24524
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 Holborn House
Commercial Road
South Shields
NE33 1UE
Carried Out On | 31/10/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Please investigate HIU performance, This is a multi return visit relating to no heating.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24524
SECTION 3: Report
GB-31/10/22- HEATING NOT TURNING OFF. CHECKED STATWHICH WAS OFF. CHECKED POWER TO ACCUTAOR HEAD AND NOTHING THERE. HEAD HAS BURNT OUT. TIRED TURNING THE VALVE MANUALLY AND IS STIFF TO TURN. MASE GP AWARE AND HE IS GOING TO ORDER A NEW VALVE. WAS NO SPARES IN PLANTROOM

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes