## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
56 Burnopeside Avenue
Lanchester
Durham
DH7 0ND
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24559
DATE OF REPORT: 01/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24559
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 56 Burnopeside Avenue
Lanchester
Durham
DH7 0ND
Carried Out On | 01/11/2022
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24559
SECTION 3: Report
Upstairs Smoke Alarm Location & Date -jan 2030 Downstairs Smoke Alarm Location & Date -jan 2030 Heat Alarm Location & Date -na Co Alarm Location & Date -jul 2032 Co Alarm Replaced - Yes/No no Boiler to be removed -vaillant eco tec pro 28 Boiler Serial number – 210705308511<<<<1300008699N0 Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler -combi Boiler location -upstairs cupboard Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE horizontal Any access requirements to access flue -ladders as is on second floor Flue guard needed -no Standoff kit required -no Gas meter internal / external –external Condensate Condensate pump required – Yes/No Condensate current termination acceptable yes or no -no If no what needs to be amended to bring it up to regs ? Needs to be brought out in 32 Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -8 Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower no Any other means of heating - no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24559
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes