## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
84 Yateholme Drive
Bradford
BD6 3WH
CARRIED OUT ON BEHALF OF
Home Group
REPORT NUMBER: 22-24569
DATE OF REPORT: 07/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24569
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Home Group
Address | 2 Gosforth Park Way
Gosforth Business Park
Gosforth Business Park
Newcastle upon Tyne
NE12 8ET
Site Address | 84 Yateholme Drive
Bradford
BD6 3WH
Carried Out On | 07/11/2022
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Downstairs bathroom radiator not working may need bleeding and also doesnt know how to set time for thermostat please ring Jimmy if needed

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24569
SECTION 3: Report
PN 7/11/22 Pin stuck on trv radiator now heating up Tried setting thermostat it won’t go into setting mode as per stat instructions

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24569
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes