## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cockshaw Court
Hexham
Northumberland
NE46 3HU
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-24570
DATE OF REPORT: 19/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24570
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Cockshaw Court
Hexham
Northumberland
NE46 3HU
Carried Out On | 01/11/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
6 Monthly Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24570
SECTION 3: Report
PPM, operated, tested all safety devices all plant room equipment. Completed 6 monthly ppm to the following 2 x potterton boilers, sirius 2 1 x flamco pressurisation unit, midi 125 L, sn 17460 1x pressure vessel, boss, 2t L, 1.5 bar 1 x plate hex 1 x de aerator 1 x gas solenoid 1 x Rihanna heater in loundry Pumps, 1 x Grundfos magna 1 32- 60 80 .65 amps 1 x Grundfos magna3d 40 - 120 f250 .55 amps 2 x Grundfos UPML 25 - 105 130 .45 amps NOTE : NO CALORIFIER Epson tanks in flats

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes