## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Cragside Court
Lobley Hill
Gateshead
NE11 0AW
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-24572
DATE OF REPORT: 19/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24572
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Cragside Court
Lobley Hill
Gateshead
NE11 0AW
Carried Out On | 01/11/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
6 Monthly Check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24572
SECTION 3: Report
PPM, CHECKED OPERATION OF ALL SAFETY DEVICES, COMPLETED PPM TO FOLLOWING 1 X PLATE HEX 2 X VAILLANT ECO TEC BOILERS 2 X LOCHINVAR ECO CHARGER WATER HEATERS ECH 33 370 1 X BOSS DOSING POT 1 X ZILMET 18L PRESSURE VESSEL 2 X AQUA 24L : " 2 X BOSS 50L " " 2 X WILO STRATOS PUMP D 50/1-12 1 X WILO STRATOS PUMP Z 30/1-12 NO CALORIFIER

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24572
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24572
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24572
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24572
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24572
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes