## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Matfen Court
Chester-le-Street
DH2 2TX
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24575
DATE OF REPORT: 03/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24575
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
Matfen Court
Chester-le-Street
DH2 2TX
Carried Out On | 03/11/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Isolate and replace hot and cold valves which are in a cupboard next to number 22. Informed by plumber this is currently an uncontainable leak coming.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24575
SECTION 3: Report
Cold water isolation stop tap leaking from gland packing. Test operation if stop tap, stop tap closes and opens freely, shutting off water to flat. I repacked gland and serviced stop tap. Tested operation of stop tap, opens and closes freely. ALL STOP TAP GLAND NUTS SHOULD BE RETIGHTENED/ REPACKED AFTER EVERY USE. I DIDN'T REPLACE STOP TAP.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24575
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24575
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24575
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24575
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24575
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes