## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Auden House
St Ann's Court
York
YO10 5FD
YO32 9WN
CARRIED OUT ON BEHALF OF
York Housing Association
REPORT NUMBER: 22-24602
DATE OF REPORT: 14/12/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24602
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | York Housing Association
Address | York Housing Associaion
Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | 42 Auden House
St Ann's Court
York
YO10 5FD
Carried Out On | 02/11/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Please investigate heating system within Flat 42. Previous visit had identified that the flat was 26.5 degrees with the thermostat set to 19 deg within the flat.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24602
SECTION 3: Report
RP - 2.11.22 - Flat cold today, 2 port valves closed. Room stats set point 20 dc Programmer set point 20 do I turned up room stats and programmer to 24 dc, 2 port opened and underfloor heating warmed up slowly.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24602
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes