## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24610
DATE OF REPORT: 09/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24610
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Crossgates
Bellshill Close
Hadrian Park
NE28 9TY
Carried Out On | 02/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No Heating in flats 19/20/21 and the corridoor.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24610
SECTION 3: Report
GB-2/11/22- NO NEATING IN BUILDING. ZONE 1 LTHW PUMP HAS FAILED BUT THE CONTROL PANEL HAD NOT SWITCHED OVER TO PUMP TWO EVEN THOUGH SET TO AUTO. MANUALLY TURNED PUMP 2 ON AND NOT HEATING CIRCULIATING.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24610
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24610
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24610
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24610
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24610
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes