## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Swiftdale Close
Bedlington
Northumberland
NE22 7LF
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24651
DATE OF REPORT: 03/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24651
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 Swiftdale Close
Bedlington
Northumberland
NE22 7LF
Carried Out On | 03/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
no heat or hot water. error F1 and a spanner on display.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24651
SECTION 3: Report
GB-3/11/22- NO CH/DHW IN PROPERTY. BOILER FLASHING F1. LOW PRESSURE. CHECKED RADS, NO SIGNS OF A LEAK. CHECKED VESSEL, ONLY .5 BAR OF PRESSURE. DRAINNED BOILER AND REPRESSURISE VESSEL TO 1.5 BAR. PRV OK. RAN BOILER IN HIGH MODE TO SEE IF PRESSURE INCREASES TO QUICKLY AND TO HIGH. PRESSURE NO HIGHER THAN 2.1 BAR. ALL BACK UP AND RUNNING

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24651
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes