## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 Wansbeck Avenue
Stanley
County Durham
DH9 6HR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24674
DATE OF REPORT: 03/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24674
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 18 Wansbeck Avenue
Stanley
County Durham
DH9 6HR
Carried Out On | 03/11/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24674
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - landing August 2031 Downstairs Smoke Alarm Location & Date - living room August 2031 Heat Alarm Location & Date - NA Co Alarm Location & Date - kit march 2031 Co Alarm Replaced - Yes/No Boiler to be removed - Vaillant ecotec pro Boiler Serial number –210621308511 1300015628n4 Job Type – Conversion / boiler replacement / full heating - boiler Combi / heat only / system boiler - combi Boiler location - kitchen Is 22mm gas pipe visible at boiler -yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE. RSH Any access requirements to access flue - NO Flue guard needed - NO Standoff kit required -NO Gas meter internal / external – EXTERNAL Condensate EXTERNAL (TO BE UPGRADED SEE PICTURES) Condensate pump required – Yes/No NO Condensate current termination acceptable yes or no - NO If no what needs to be amended to bring it up to regs ? SEE ABOVE Is the condensate currently through the wall in 19 or 32mm ? 19MM Number of radiators -6 Size of pipework at radiators -10MM Number of bathrooms -1 Electric shower -YES Any other means of heating - ELECTRIC FIRE Current Cooker Type – Electric / GAS ELECTRIC Current Fire Type – Electric / Gas ELECTRIC

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24674
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes