## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Epworth
Tanfield Lea
Stanley
DH9 9UJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24675
DATE OF REPORT: 03/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24675
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 29 Epworth
Tanfield Lea
Stanley
DH9 9UJ
Carried Out On | 03/11/2022
Survey Completed By | Gareth Duncan
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24675
SECTION 3: Report
Upstairs Smoke Alarm Location & Date - NA bungalow Downstairs Smoke Alarm Location & Date - hall Nov 2028 Heat Alarm Location & Date - kit Feb 2024 Co Alarm Location & Date - hall sept 2024 Co Alarm Replaced - Yes/No to be repkaced5 Boiler to be removed - Vaillant ecotec pro Boiler Serial number –120637308511 1300026179n1 Job Type – Conversion / boiler replacement / full heating - boiler Combi / heat only / system boiler - combi Boiler location - hall Is 22mm gas pipe visible at boiler - yes Flue type – If vertical please note amount of extensions and flue bends MUST BE ACCURATE 2 Any access requirements to access flue - no Flue guard needed - no Standoff kit required - no Gas meter internal / external – ext Condensate Condensate pump required – Yes/No no Condensate current termination acceptable yes or no -yes If no what needs to be amended to bring it up to regs ? Is the condensate currently through the wall in 19 or 32mm ? Number of radiators -6 Size of pipework at radiators - 10mm Number of bathrooms -1 Electric shower - no Any other means of heating - Electric fire Current Cooker Type – Electric / Gas gas Current Fire Type – Electric / Gas electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24675
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes