## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms Within House
Strathmore House
163 Strathmore Crescent
NE4 8UA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24749
DATE OF REPORT: 07/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24749
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms Within House
Strathmore House
163 Strathmore Crescent
NE4 8UA
Carried Out On | 07/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No Heating / hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24749
SECTION 3: Report
GB-7/11/22- MCB TRIPPED. TURNED MCB BACK ON TO GET PPANTROOM BACK UP AND RUNNING. THEN TURNED OF THE MCB THAT HAD TRIPPED TO SEE WHAT IT CONTROLLED. WHICH IS THE HEATING PUMPS AND THE 2 PORT VALVE. TURNED PUMP 1 ON WHICH DID NOT SOUND TO HEALTHY BUT WAS RUNNING. TURNED IT OVER TO PUMP 2 WHICH SOUNDED OK AND RUNNING. LEFT ON PUMP 2. 2 PORT VALVE OPEN AND CLOSING ALSO.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24749
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes