## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
16 Chirton House
Headlam Green
Newcastle Upon Tyne
NE6 2TW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24750
DATE OF REPORT: 07/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24750
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 16 Chirton House
Headlam Green
Newcastle Upon Tyne
NE6 2TW
Carried Out On | 07/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24750
SECTION 3: Report
GB-7/11/22- NO HEAT LEAVING HIU. CHECKED ACTUATOR HEAD. OK. ISOLATED AND DRAINED HIU ONCE FRIED TO TURN PUMP. UNSTUCK AND CLEANNED PUMP PROPELLER. REFITTED AND HEATING NOW CIRCULATING. TOOK DETAILS OF HIU IF WANT TO REPLACE PUMP

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes