## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
37 Park View
Park Road
Lynemouth
NE61 5XL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24756
DATE OF REPORT: 07/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24756
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 37 Park View
Park Road
Lynemouth
NE61 5XL
Carried Out On | 07/11/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
No Heating within the building logged to flat 37 in error.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24756
SECTION 3: Report
Heating in building ok, just 37 has issues I serviced radiator valves to kitchen, bedroom and lounge. Heating back on. All working, but, the thermostatic radiator valves don't regulate, either fully on or fully off. The ladies son is turning the rad valves off, jamming the pin in, permanently closing the TRV. FOW Return visit, 2 x engineers, all day. NEW CARPETS JUST LAYED. Either roll back carpets or cover with poly covers and dust sheets. If carpets are to be rolled back get a carpet fitter to remove and refit. isolate and drain heating to flat 37, remove old TRVS and replace with new. Pipework is coming out of wall on the horizontal, no play, short stub of what looks like 10mm copper. We might have to cut wall away around valve gain access for new valve ? Please, contact Diane and tenant before and give notice 2x ENGINEER ALL DAY, we don't want a claim for new carpets.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24756
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24756
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24756
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24756
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24756
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes