## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Brownsea Place
Sherriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-24762
DATE OF REPORT: 07/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24762
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 25 Brownsea Place
Sherriff Hill
Gateshead
NE9 5PZ
Carried Out On | 07/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Please investigate water pressure issue within flat/building. AKW have stated that the water pressure drops from 5 bar to 0.5 bar once a tap or shower is opened.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24762
SECTION 3: Report
GB-7/11/22- WILO PUMPS CHECKED. BOTH OPERATING AND SET TO AUTO ON VR SYSTEM. FLAT 25 WAS ISSUIE. GATE VALVE WORKING BUT THINK DOUBLE CHECK VALVE HAS FAILED. REQUIRES TO BE REPLACED. 22MM BRASS CHECK VALVE

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24762
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes