## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Vicarage Court
Studley Road
Hartlepool
TS25 1TN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24790
DATE OF REPORT: 09/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24790
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Vicarage Court
Studley Road
Hartlepool
TS25 1TN
Carried Out On | 09/11/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Zenith to change living room TRV communal heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24790
SECTION 3: Report
Isolated and drained heating system in flat, drain down took ages, heating isolation valves passing, Isolated boilers and pumps to full building. Cleaned off valve seats and isolated as best I could. Removed faulty rad valves and replaced with new, lounge and bedroom. Filled a d vented system and tested heating, all ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24790
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes