## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
5 Carisbrooke Close
Washington
NE37 2HZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24792
DATE OF REPORT: 08/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24792
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
5 Carisbrooke Close
Washington
NE37 2HZ
Carried Out On | 08/11/2022
Survey Completed By | Rob Porritt
SECTION 2: Introduction
Please investigate issue with heating system, site reporting low to no temperature within the radiators.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24792
SECTION 3: Report
Building temperature on arrival 23.0 dc Room stat set point 24 dc boiler firing. Vented rads and Checked operation of TRVs, all ok. Tested operation of room stat and programmer, both ok. Accessed roof space, Checked operation of DHW calorifier Heating pump and 2 port valve 2 x pressure vessels DHW pump Wiring Centre. All working ok Raised room stet SP to 28 dc and operated boi,er on maximum Building temperature rise to 26.2 dc. Rads are shielded type.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24792
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes