## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Brownsea Place
Sherriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 22-24795
DATE OF REPORT: 08/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24795
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 25 Brownsea Place
Sherriff Hill
Gateshead
NE9 5PZ
Carried Out On | 08/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Replace double check valve

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24795
SECTION 3: Report
GB-8/11/22- REPLACED DOUBLE CHECK VALVE. COLD WATER FLOW HAS IMPROVED A LITTLE BIT BUT STILL NOT ENOUGH TO USE THE SHOWER. THINK GATE VALVE IS RESTRICYING THE FLOW. WATER WILL NEED TO BE TURNED OFF AT THE WHOLE BUILDING

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24795
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24795
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24795
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24795
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24795
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes