## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 22-24824
DATE OF REPORT: 11/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24824
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Carisbrooke Court
Chester Terrace
Sunderland
SR1 3SN
Carried Out On | 10/11/2022, 11/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No Hot Water within flat 15

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24824
SECTION 3: Report
NO WATER TO HOT TAPS, SUB CONTRACTORS DEALING WITH WATER PRESSURE ISSUES. I spoke to tenant who had workmen in this flat trying to resolve issue. I also spoke to scheme manager and a project manager on site, thay didn't understand how Zenith got job. I was told flat 15 was the only issue on site and others are dealing with it. No water at taps, 2 weeks now. GB-11/11/22- WATER AT ALL TAPS EXCEPT KITCHEN TAP. NO WATER COMING OUT OF DRAIN OFF VALVE BELOW KITCHEN TAP ALSO. GATE VALVE ON HOT WATER FLOW IN THE SERVICE HATCH IS FUNCTIONING. THE OTHER FLOW GOING IN TO KITCHEN HAS NO ISOLATION ON IT.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24824
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24824
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24824
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24824
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24824
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes