## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24834
DATE OF REPORT: 17/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24834
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 10/11/2022
Survey Completed By | Graham Parker
SECTION 2: Introduction
Please complete mechanical check

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24834
SECTION 3: Report
2 x Hamworthy fleet f125v boilers 1= operational 2=operational 2 x lochinvar SHW 60-325 water heaters 1= operational 2= operational. Both look as though have been leaking 2 x Hamworthy chesil pressurisation units 1= operational 2= operational 1 x ASHP expansion vessel = operational. Charged to 1.5 bar 1 x CH expansion vessel = operational. Charged to 1.5 bar 2 x DHW expansion vessels 1= operational 2= operational. Charged to 3.5 bar 1 x plate heat exchanger = good 1 x 2 port valve = operational 1 x 3 port valve = operational 2 x Schneider actuators 1= operational 2= operational Valves = good Sensors = operational Gauges = operational 1 x gas interlock = operational Lagging = good 1 x hot water secondary pump grundfos magna3 25-80 = operational =0.7 amps 2 x VT pumps grundfos magna3d 40-150. 1= operational = 3.1 amps 2= operational = 3.1 amps 2 x ASHP primary pumps grundfos magna3d 40-120. 1= operational =0.4 amps 2= operational =0.6 amps 2 x ASHP shunt pumps grundfos magna3d 32-60. 1= operational 0.8 amps 2= operational = 0.8 amps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24834
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes