## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 burns close
West Rainton
Dh4 6sy
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 22-24892
DATE OF REPORT: 12/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24892
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 17 burns close
West Rainton
Dh4 6sy
Carried Out On | 12/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
Leak from toilet

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24892
SECTION 3: Report
GB-12/11/22- TIGHTNED UP FITTING UNDER BASIN ON FILLING VALVE, WHICH STOPPED THE LEAK BUT THE FLOAT HAD GOT STUCK SO WAS NOT SHUTTING OFF. ADJUSTED BALL VALVE. WASHED MY HANDS AND PICKED THE CISTREN LID WHICH SLIPPED OUT ME HANDS AND BROKE TOILET SEAT. NEW TOILET SEAT NEEDED.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24892
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24892
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24892
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24892
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24892
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes