## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Southgate Court
Camsey Close
Longbenton
NE12 8UW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 22-24893
DATE OF REPORT: 12/11/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 22-24893
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 11 Southgate Court
Camsey Close
Longbenton
NE12 8UW
Carried Out On | 12/11/2022
Survey Completed By | Graeme Brown
SECTION 2: Introduction
No Heating or hot water. Elderley Tenant sheltered accomodation.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 22-24893
SECTION 3: Report
GB-12/11/22- NO HEATING OR HOT WATER IN BUILDING. CHECKED PLANT ROOM AFTER CHECKING FLAT 11. ZONE 2 WAA ON AND ALL OK AND SET TO ON AND PU P 2 ON. ZONE 1 WAS ON AUTO BUT PUMPS WHERE NOT ON. SET TO ON AND PUT PUMP 1 ON. HEATING NOW ONMIN FLAT 11 AND CORRIDORS. TRIED TO PUT PRIMARY DHWS PUMPS TO MANUAL BUT WOULD SHOW FLOW FAULT NOW AND THEN. LEFT THEM TO AUTO VUT PUMPS WHERE NOT ON. NOT SURE IF THE BMS NEEDS LOOKING AT SINCE NOTHING WAS SAYING ANY FAULTS ON ARRIVAL. ALSO THE BMS WAS SHOWING A FAILED TO OPEN CONNECTION TO PLC.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 22-24893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 22-24893
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes